Questions to “… but were too afraid to ask”

1. From which Greek words is the English word microscope derived, what is their literal translation?						4 points

2. What is the resolving power or resolution of the (average) unaided human eye (given sufficiently bright illumination)?					2 points

3. What is the resolving power of the very best light microscopes (in the far field)?   											2 point

4. What is the resolving power of the very best (state-of-the-art) transmission electron microscopes (TEM) (with aberration correctors)?				2 points

5. What is the resolving power of a modern scanning electron microscope (SEM) (without aberration correctors)?							2 points

6. Why does the column of an electron microscope need to be evacuated?   2 points

7. What are the four main components of a modern TEM?			4 points

8. What electric current is typical for a modern TEM?  2 points	Given such an electric current, how many electrons impinge approximately on the specimen per second?

2 points

9. What is the speed of the electrons at 300 kV acceleration voltage?         2 point

10. Given the typical electric current through the sample from question 8, is it likely that there is more than one electron transmitting the sample at any one time? 			4 points

11. What is “the essential” difference between the lenses in a light microscope and a TEM as far as magnification is concerned?							2 points

12. What is astigmatism and how can it be corrected in a TEM ?			2 points

13. Is water cooling needed for the operation of a TEM?				1 point

14. What is the typical size of a sample for a TEM investigation?			3 points

15. Did you find any “somewhat surprising physical entity” i.e. some number plus its SI unit, that seems to strongly indicate that there is a mistake in this booklet?	4 points

16. What are the most important differences between TEM and SEM?   		3 point

17. What is the conceptual difference between TEM and STEM?			1 point

18. What is an ESEM?						1 point

19. Does it make sense to integrate an electron energy loss spectrometer into a modern SEM column? 2 points,   If so, under which name is such an instrument known?  2 points

20. Does is make sense to integrate a spectrometer for characteristic X-rays into a modern SEM column? 2 point

21. Does is make sense to integrate an ion source into a modern SEM column?  2 points   If so, under which name is such an instrument known?  2 points

55 points total