# Hydrogen Peroxide Production by Two Strains of Cyanobacteria and ITS effect on TRANSIENTS IN O2 PRODUCTIVITY MEASUREMENTS

John G. Rueter2
Environmental Sciences and Resources Program
Portland State University 
Portland, OR 97207-0751

Mike W. Houston and Eric C. Henry
Puriponics, Inc.

## 806 SW Broadway, Suite 900

Portland, OR 97205-331

1 Received

2 Author for correspondence: e-mail rueterj@pdx.edu

ABSTRACT

Many different strains of algae have been observed to produce hydrogen peroxide (H2O2) as a natural side product of the light reactions in photosynthesis. The production of H2O2 can be followed both fluorescence methods (such as scopoletin) and a new method, described here, that allows the estimation of the steady-state H2O2 concentration from transient measurements of O2. The production of H2O2 and its decay to O2 outside the cell can be modeled with a dynamic model that simulates the rapid catalysis of H2O2. H2O2 production increased with light-dark transitions but was not a function of ambient [O2]. Incorporation of this transient behavior into P vs. E measurement is important for estimation of post-illumination respiration rates. H2O2 has both harmful and beneficial effects on algal cells that should be considered in physiological studies.

Key index words:  Cyanobacteria, H2O2, hydrogen peroxide, O2  productivity, P vs. E curves

Abbreviations: OH, hydroxy-radical; O2-, superoxide radical;  pirr, post-illumination respiration rate; RPPP, reductive pentose phosphate pathway.

RODUCTION

The relationship between productivity and irradiance energy, (P vs. E) is widely used to understand the physiological adaptations of algae. When studying this relationship with an oxygen electrode it should be remembered that there are many cellular processes that other than simply photosynthesis and respiration.  The following processes may be contributing to the net production and consumption of oxygen: light-dependent O2 production, carbon fixation at RUBISCO, dark respiration, O2 consumption at cytochrome oxidase, Mehler O2 consumption, and photorespiration (O2 consumption at RUBISCO). In addition, nitrogen nutrition can affect net O2 production by changing the required ratio for reductive power (as NADPH) compared to carbon skeletons for synthesis from  the reductive pentose phosphate pathway (RPPP, Calvin Cycle). Even though the overall P vs. E relationships help understand the potential importance of these processes in a growing cell, it is impossible to attribute any particular characteristic of a P vs. E relationship to any one physiological process. For example, it would be very useful to have a direct measurement of cellular respiration rates in the dark and at different irradiances.  However, because all of the above processes are contributing to the net production or consumption of oxygen it is virtually impossible to measure algal respiration directly with an oxygen electrode (Sakshaug et al. 1997).

In addition to studying P as a function of E, where each light energy level gives one productivity estimate, many studies have examined the responses as the cells are shifted from one light level to another.  These transients behaviors are important to understand for two reasons; first they allow us to examine how cells might respond to light in a mixed environment and, second the transient from light to dark have been used to probe for the level of oxygen consumption in the dark.   For example, Beardall et al. (1994) found enhanced post-illumination respiration that lasted for more than 10 minutes after the lights were turned off. A closer examination of their data shows a transition period in the first minute of darkness where the oxygen production rate turns from positive to negative. Falkowski and Owens (1978) have reported similar transient responses such that they chose to use  "equilibrium rates" taken from 2 minutes to 6 minutes after any change in light and noted that the first minute was not in equilibrium. Based on several observations, we suspected that these transient behaviors in the first minute after the light was turned off were due to production and breakdown of H2O2.

Hydrogen peroxide production and scavenging have been observed in many strains of algae. Stevens et al. (1973) demonstrated that over half of the 38 axenic strains of cyanobacteria they examined produced extracellular H2O2. Evolution and scavenging of H2O2 have also been demonstrated for several eukaryotic algae (Miyake et al. 1991), including brown algae (Collen and Davison 1997) and red algae (Mtolera et al. 1995). Hydrogen peroxide is produced when reactive oxygen species such as the superoxide radical (O2- ) are formed by the Mehler reaction and then converted to H2O2 in a reaction catalyzed by superoxide dismutase (2O2-  + 2H+  H2O2 + O2 ). The H2O2 is highly permeable and diffuses out of the cell rapidly. The detection of hydrogen peroxide outside of the cell indicates a higher concentration of H2O2 in the cell and implies that superoxide radicals are being created.  The Mehler reaction is the photoreduction of O2 that occurs at PSI. This flow of electrons can compete with, or compensate for the restricted flow of electrons to NADP+ (Polle 1996). The flow of electrons to superoxide radicals can be several percent to as high as 20% of the non-cyclic electron flow (Polle 1996). H2O2 is scavenged, or broken down by a broad category of enzymes called the hydroperoxidases. This class of enzyme includes catalase (which catalyzes the reaction 2 H2O2 --> 2 H2O + O2) and peroxidases, such as ascorbate peroxidase (which catalyzes the reaction H2O2 + 2 ascorbate --> 2 H2O + 2 monodehydroascorbate) (Asada 1999 ). Scavenging is so effective that any leakage of H2O2 to the medium indicates a higher Km for L-ascorbate peroxidase in those species (Miyake et al. 1991). These results indicate the possibility that the strains of algae that were shown not produce measurable extracellular H2O2 (Stevens et al. 1973) may still produce H2O2 in the cell but have very effective scavenging mechanisms with low Km values.  Production and scavenging  of H2O2  is part of the "water-water cycle",  which includes the Mehler-peroxidase reactions and the reducing steps for the regeneration of ascorbate (Asada 1999). The most important function of this cycle is to immediately remove O2- at the site of production.  Thus the concentration of H2O2  at any time represents a highly dynamic pool  that results from the actions of several processes in and out of the cell, including the production, diffusion out of the cell and breakdown.

The present investigation into the role of H2O2  in transients between light and dark was initiated by our interest in characterizing the dark respiration rate in these strains of algae. In our attempt to determine the dark respiration rate, we noticed that the O2 concentration continued to rise after the light was turned off. In addition, when we extrapolated the respiration line back to the time when the light was turned off, the O2 concentration value was greater than when the light was turned off, indicating an excess amount of oxygen. This paper reports that this apparent excess amount of O2 comes from H2O2 that was produced in the cell and diffused out during the light period. This observation is important for three reasons; first,  the offset can be used as a measure of H2O2 production in these cells, second, different levels of H2O2 can interfere with the determination of photosynthetic parameters and third, the production of H2O2 is a natural part of photosynthetic electron flow that needs to be considered.

METHODS

The two strains of cyanobacteria referred to as "AFA" and "Pico" were isolated by Eric Henry. AFA is a strain of Aphanisomenon flos-aquae and Pico is a Synechococcus sp.. Both were isolated from Klamath Lake, Oregon. These algae were grown in a variation of ASM-1 (Gorham et al. 1964). The cultures were either grown as 16 L of culture media in 20 L carboys under fluorescent light at 22 to 25 C or in a variety of larger volume configurations (up to 6000 L). The large volume cultures were grown under combinations of natural and high-pressure sodium lamps with various light periods and temperatures. The large volume cultures were bubbled with air to which CO2 was added on demand by a pH controller. The exact media composition, culture configurations, and strain descriptions are proprietary.

Biomass of the cultures was measured with optical density, dry weight, and Chlorophyll-a. Optical density was measured on 1 cm pathlength at 660 and 750 nm. Dry weight measurements were made on 50 mL volumes filtered through GFF filters for Pico and GFA filters for AFA. Chlorophyll was measured with a 90% acetone extraction of 10 mL samples filtered, homogenized with a glass tissue homogenizer, and then measured at measurements 665 and 750.  The OD750 reading was used to correct for turbidity of the centrifuged extract, and was 0.010 absorbance units or less. The following equation was used. (Hansmann 1973, Jensen 1978)

(OD665-OD750) * 11.6 = g Chla/mL

The production of H2O2 by cells can be determined directly using a fluorescent compound that decreases its fluorescence when oxidized by a peroxidase to reduce H2O2. We used a modification of several reported methods for scopoletin (Stevens et al. 1973, Patterson and Myers 1973, Corbett 1989). To 3 mL of culture sample we added 40 L of scopoletin (20 mg/L solution), 200 L of horse radish peroxidase (3 mg/100 mL stock). These cultures samples were followed in 1 cm cuvettes in a Jasco spectofluorometer set at 395 nm excitation (slit 5) and 490 nm emission (slit 5). H2O2 production (and thus fluorescence decrease) was followed by putting the cells in the light for 1 minute and then reading the sample during the next minute in the spectrofluorometer. The decrease in fluorescence was followed for about 10 minutes of exposure to light, taking readings each minute. This is a "trap" method in which any H2O2 that is produced can react with the reagent to create a stable non-fluorescent version of the scopoletin molecule. Decreases in the fluorescence are related to the accumulated amount of H2O2 that has been produced and reacted with the reagent, not the concentration of H2O2 at any one time.  This is an important distinction in biological systems where there may be mechanisms that are producing and destroying the H2O2 .

O2 production was measured using a water-jacketed Hansatech electrode and cuvette assembly. Different light levels were obtained using a Kodak Carousel projector with slides that were computer-generated to give gray scales of between 10% and 97%. These slides were calibrated using both a Licor spherical light sensor and the Hansatech "Quantatherm" sensor in the cuvette. The temperature was maintained with a cooling/heating bath. To avoid any rapid cooling spikes during the run, the cooling unit was turned off for the duration of the light protocol (which lasted about 30 minutes).  The total drift during this time was usually around 0.1 to 0.2 C. Data was acquired directly onto a computer and the files were analyzed using Hansatech software and an Excel spreadsheet.

Results

Oxygen production and consumption goes through a transition from light to dark that includes a transient curving of the rate from positive (O2 production) to negative (O2 consumption). This transient state also indicates another feature, O2 production after the lights are turned off. When the O2 consumption line is extrapolated back to the time when the light was turned off, the value of O2 is higher than the value observed at that instant (Fig. 1). This "excess O2" represents a concentration of about 1 nmol mL-1 and is reproducible.

The O2 concentration during a transition from light to dark can be visualized to have three phases (Fig. 2). During the light phase, [O2] is increasing due to photosynthesis and there is a  steady state between the production and breakdown of H2O2.  When the light is turned off, there is a  transient response in the [O2] that lasts for about a minute that results from two processes; the H2O2 that accumulated during the light phase breakdowns to make new O2 and respiration rate of the cells decreasing the O2 in the cuvette. Because of the kinetics of H2O2 break down the oxygen electrode measurements curve off from.  After the H2O2 is depleted, the rate of change of [O2] in the cuvette is more simply related to the post-illumination respiration rate. The parameters controlling the curvature of the transient region can be modeled as the Vmax and Km of the apparent extracellular or exocellular catalase activity. The kinetics of this reaction were measured independently by adding H2O2 to a cell suspension in the dark and following the subsequent increase in O2. The rates measured were;  Vmax_apparent = 2.0 nmol O2 min-1mL-1 and Km_apparent = 0.79 nmol (data not shown). The transient region can be modeled by using parameters that are similar to these.  Figure 3 illustrates the comparison of example data to the numerical model simulation for the transient region (see the figure legend for the kinetic parameters used.)

Hydrogen peroxide was measured independently using scopoletin. After H2O2 diffuses out of the cell, either catalase or peroxidase can convert H2O2 into O2. The stoichiometry of this reaction is two H2O2 being converted into 2 waters and one O2. Therefore we should expect the concentration of H2O2 to be twice what we measured as the O2 offset. The values compare very favorably, 1.11 Mmin-1 of H2O2 produced by a culture of AFA at 2275 Em-1s-1 as measured by scopoletin whereas the O2 offset method measured either 0.41 to 0.62 M O2 under steady or fluctuating light conditions respectively. Thus these measurements are very close, but it must be remembered (as mentioned in the methods section) that the scopoletin is a "trap" measurement and the offset technique is based on the disruption of a steady state condition.

The steady state concentration of H2O2, as calculated from the offset, is not a function of medium [O2] (Fig. 4). This result is consistent with the very low apparent Km reported for the Mehler reaction (Polle 1996) which indicates that this reaction would be saturated at these concentrations. The post-illumination respiration rate does increase with [O2]. The equation for pirr vs. [O2] is:

pirr = -.0647  [O2] + 18.3 (R2 = 0.998)

In addition, because the pirr is a strong function of [O2] and H2O2 is not, it implies that the mechanism that causes enhanced post-illumination respiration rates is probably separate from the mechanisms that result in the production of H2O2.

Experimental regimes with light-dark transitions showed more H2O2 production than continuous regimes with the same integrated amount of light. Two light regimes that had the same total amount of light were compared; three cycles of 1 minute on - 1 minute off light was compared to one cycle of 3 minutes on - 3 minutes off. The offset calculation showed that the 1 minute cycle produced about 50% more H2O2 under these conditions; 0.62 M H2O2 compared to 0.41 M (data not shown).  This increase is consistent with one of the mechanisms for increased production of H2O2 that depends on increased electron transport to H2O2 rather than flow to NADP+ during the induction of RPPP.

DISCUSSION

Using an oxygen electrode is simple method for following dynamics of H2O2 production at the same time as measurements on P vs. E characteristics are being made. At moderate light levels that do not lead to rapid photoinhibition, steady state conditions for the production and destruction of H2O2 can be ignored as long as enough time is given (in our case, about a minute) for the cell to reach steady state. The condition of steady state can be verified using an independent method for measuring H2O2 production rate, such as the scopoletin method. Paying attention to these transients and steady state can help interpret delays and changes in rates. For example, Falkowski and Owen (1978) describe a transient delay from lower to higher light.  This delay can be explained as the amount of time that it takes for the cells to reach a steady state for H2O2  production and destruction.

Much of the work on H2O2 in cyanobacteria deals with H2O2 as a potential toxin that needs to be removed efficiently by some scavenging mechanism (Obinger, et al 1998; Obinger et al. 1999). In this view, cellular mechanisms such as super oxide dismutases and catalases serve protective functions (Tichy & Vermas 1999). Efficient scavenging results in algal strains that are resistant to H2O2 and this resistance is thought to be advantageous (Takeda et al. 1995; Miyake et al. 1991). The problem with only considering this view is that it doesn't explain the benefits of H2O2 production in the first place, namely the roles of H2O2 in short term regulation of photosynthesis and the potential for H2O2 to be toxic to predators. Because H2O2 production and consumption is a key part of the electron flow in the water-water cycle as described by Asada (1999), it should be expected that it is involved in regulation. This set of reactions includes the Mehler reaction that produces H2O2, the peroxidase reactions that consume H2O2 and oxidize ascorbate, and the reductive reactions for the regeneration of the reduced ascorbate. The electron flux though the water-water cycle was estimated to be around 30% in vascular plants by Asada (1999) and Kana (1992) measurements showed a range of 0.4 to 0.7 as ratio of electrons that went through Mehler reaction in Trichodesmium. In the water-water cycle, H2O2 represents a small pool of intermediates that can diffuse out of the cell rapidly if it builds up. Because this pool of intermediates represents the production and consumption of two different processes, it is also useful in regulation. The Mehler -peroxidase reaction contributes to intermittent adjustment of the photochemical efficiency between the light level and biochemistry (Polle 1996) and plays a role in down regulation (Schreiber and Neubauer 1990; Hoegh-Guldberg 1999) which may allow these cells to handle variable light (Fujita et al. 1994). Hydrogen peroxide may also be beneficial in supporting nutrient transport. Palenik and Morel (1990) described the production of H2O2 by a cell surface amino acid oxidase in nitrate grown cells.  Hydrogen peroxide production by algae has also been linked to toxicity, and toxicity to predators. For example, Chatonella marina produces H2O2 and superoxide that are toxic to fish, especially the yellowtail (causing excessive secretion of gill mucus) and also as a response to bacterial (Kawano et al. 1996). Similarly, Heterosigma carterae produces high concentration of hydrogen peroxide and other reactive oxygen species that are toxic to rainbow trout (Yang et al 1995). One of the responses that plants have to pathogens is to create H2O2 in an "oxidative burst" which serves two purposes, the first is that the H2O2 and other reactive oxygen species act directly as antimicrobial agents, and the second is that H2O2 acts as a second messenger, signaling a diverse set of defense response (Low & Merida 1996, Orozco-Cardenas et al. 2001). Thus, hydrogen peroxide may be  involved in, and may even coordinate, physiological and ecological responses.

The reactivity of H2O2 and other oxygen species (such as OH and O2-) that are generated in the normal functioning of photosynthesis may force us to reevaluate our models of regulation and optimization. According to Asada (1999) the " O2- radical is generated by a disorder in the water-water cycle, which is unavoidable..". Superoxide is so reactive that no specific scavenging enzyme is possible because it can cause damage within its diffusion distance from the site of production, which is only several amino acid residues away on a protein. Apparently cells have to devote a portion of their energy costs (electron flow) and biosynthetic investments (superoxide dismutase and other cellular proteins) to perform all the reactions in the water-water cycle. We might have to view cells as being poised to deal with these annoying reactive species rather than constructed to reach an optimal composition by reducing intrinsic and extrinsic costs (Shuter 1979). For example, if a cell has excess light harvesting reactions compared to carbon fixation reactions there is likely to be an increase in the Mehler reaction and increase in reactive oxygen species.  This means that an imbalance is more than an extrinsic cost (lost opportunity in a competitive environment) but a real cost from the damage done by the reactive oxygen species.  This view helps explain the importance of mechanisms that lead to a balanced flow of reductant between photosystems or photosystems and RPPP (Kana et al. 1997) or the direct benefit from down-regulation mechanisms (Fujita et al. 1994; Schreiber & Neubauer 1990).

ACKNOWLEDGEMENTS

This research was support by Puriponics, Inc. (www.puriponics.com).

REFERENCES

Asada, K. 1999. The water-water cycle in chloroplasts: Scavenging of active oxygens and dissipation of excess photons. Annu. Rev. Plant Physiol. Plant Mol. Biol. 50:601-39

Beardall, J., Burger-Wiersma, M., Rijkeboer, T., Sukenik, A., Lemoalle, J., Dubinsky, Z. & Fontvielle, D. 1994. Studies on enhanced post-illumination respiration in microalgae. J. Plank. Res. 16:1401-10.

Collen, J.  & Davison, I. R. 1997. In vivo measurement of active oxygen production in the brown alga Fucus evanescens C. Ag. using 2',7' -dichlorohydrofluorescin diacetate. J. Phycol. 33:643-8.

Corbett, J.T. 1989. The scopoletin assay for hydrogen peroxide: A review and a better method. J. Biochem. & Biophys. Methods. 18:297-308.

Cullen, J. J. & Lewis, M . R. 1988. The kinetics of algal photoadaptation in the context of vertical mixing.  J. Plank. Res.10:1039-63.

Falkowski, P.G.& Owens, T. G. 1978. Effects of light intensity on photosynthesis and dark respiration in six species of marine phytoplankton.  Marine Biology. 45:289-95.

Fujita, Y., Murikami, A., & Aizawa, K. 1994. Short-term and long-term adaptation of the photosynthetic apparatus: Homeostatic properties of thylakoids. In Bryant, D. A. [Ed.] The Molecular Biology of Cyanobacteria. Kluwer, Netherlands. pp. 677-92.

Gorham, P.R., McLachlan, J., Hammer, U.T. & Kim, W.K. 1964. Isolation and culture of toxic strains of Anabaena flos-aquae (Lyngb.) de Bréb.Verh. Internat. Verein. Limnol. 15:796-804.

Hansmann, E. 1973. Pigment Analysis. In Stein, J. [Ed.] Handbook of Phycological Methods:Culture Methods and Growth Measurements. Cambridge Press, Cambridge, England. pp. 359-68.

Hoegh-Guldberg, O. 1999. Climate change, coral bleaching and the future of the world's coral reefs. Marine & Freshwater Research. 50:839-66.

Jensen, A. 1978. Chlorophylls and carotenoids. In Hellebust. J. & Craigie, J. S. [Eds.] Handbook of Phycological Methods: Physiological and Biochemical Methods. Cambridge University Press, Cambridge, England. pp. 59-69.

Kana, T. M. 1992. Oxygen cycling in cyanobacteria with specific reference to oxygen protection in Trichodesmium spp. In Carpenter, E.J., Capone, D.G. & Rueter, J.G.[Eds.] Marine Pelagic Cyanobacteria: Trichodesmium and other Diazotrophs.  Kluwer, Netherlands. pp. 29-41.

Kana, T. M., Geider, R. J. and Critchley, C. 1997. Regulation of photosynthetic pigments in micro-algae by multiple environmental factors: a dynamic balance hypothesis. New Phytol. 137:629-638.

Kawano, I., Oda, T., Ishimatsu, A. & Muramatsu, T. 1996. Inhibitory effect of the iron chelator Desferrioxamine (Desferal) on the generation of activated oxygen species by Chattonella marina. Marine Biology. 126:765-71.

Low, P. S. & Merida, J. R. 1996. The oxidative burst in plant defense: Function and signal transduction. Physiologium Plantarum. 96:533-42.

Miyake, C., Michihata, F. & Asada, K. 1991. Scavenging of hydrogen peroxide in prokaryotic and eukaryotic algae: Acquisition of ascorbate peroxidase during the evolution of cyanobacteria. Plant Cell Physiol. 32:33-43.

Mtolera, M. S. P., Collen, J., Pedersen, M., & Semesi, A. K. 1995. Destructive hydrogen peroxide production in Eucheuma denticulatum (Rhodophyta) during stress caused by elevated pH, high light intensities, and competition with other species. European Journal of Phycology. 30:289-97.

Obinger, C., Regelsberger, G., Pircher, A., Strasser, G. & Peschek, G. A. 1998. Scavenging of superoxide and hydrogen peroxide in blue-green algae (cyanobacteria). Physiologia Plantarum 104:693-8.

Obinger, C., Regelsberger, G., Pircher, A. Sevcik-Klockler, A., Strasser, G. & Peschek, G. A. 1999. Hydrogen Peroxide Removal in Cyanobacteria: Characterization of a catalase-peroxidase from Anacystis nidulans. In Peschek, G. A., Loffelhardt, W. & Schmetterer, G. [Eds.] The Phototrophic Prokaryotes.  Kluwer, Netherlands.  pp. 719-31.

Orozco-Cardenas, M. L., Narvaez-Vasquez, J. & Ryan, C.A. 2001. Hydrogen peroxide acts as a second messenger for the induction of defense genes in tomato plants in response to wounding, systemin, and methyl jasmonate. Plant Cell. 13:179-91.

Palenik, B. &. Morel, F. M. M. 1990. Amino acid utilization by marine phytoplankton: a novel mechanism. Limnol. Oceanogr. 35:260-9.

Patterson, C. O. P. & Myers, J. 1973. Photosynthetic production of hydrogen peroxide by Anacystis nidulans. Plant Physiol. 51:104-9.

Polle, A. 1996. Mehler Reaction: Friend or foe in photosynthesis. Botanica Acta. 109:84-9.

Sakshaug, E., Bricaud, A., Dandonneau, Y., Falkowski, P.G., Kiefer, D.A., Legendre, L., Morel, A., Parslow, J. & Takahashi, M. 1997. Parameters of photosynthesis: definitions, theory and interpretation of results. J. Plank. Res. 19:1637-70.

Schreiber, U. & Neubauer, C. 1990. O2-dependent electron flow, membrane energization and the mechanism of non-photochemical quenching in chlorophyll fluorescence. Photosynthesis Research. 25:279-93.

Shuter, B. 1979. A model of physiological adapation in unicellular algae. J. Theoretical Biology 78:519-52.

Stevens, S.E. Jr., Patterson, C. O. P., & Myers, J. 1973. The production of hydrogen peroxide by blue-green algae: a survey. J. Phycol. 9:427-30.

Takeda, T., Yokota, A. & Shigeoka, S. 1995. Resistance of photosynthesis to hydrogen peroxide in algae. Plant Cell Physiol. 36:1089-95.

Tichy, M. & Vermaas, W. 1999. In vivo role of catalase-peroxidase in Synechocystis sp. strain PCC 6803. J. Bacteriology. 181:1875-82.

Yang, C.Z., Albright, L. J. & Yousif, A. N. 1995. Oxygen-radical-mediated efffects of the toxic phytoplankter Heterosigma carterae on juvenile rainbow trout Oncorhynchus mykiss. Diseases of Aquatic Organisms. 23:101-8.

FIG. 1. Oxygen concentration during the transition between light and dark for Pico. The points for one minute after the light is turned off are labeled as "transition". The slope of the line was taken from 1 minute to 2 minutes after the light was turned off. This line was extrapolated back to the time at which the light was turned off and the difference between the observed value and the back extrapolation was given as the "excess O2".

from 1221 offset (641 uEm-2s-1)

FIG 2. Diagram of the three phases of the transient response.  From 0 to 1, the light is on and the production and breakdown of H2O2 is in steady state.  From time 1 to 2, the light is off. Respiration is consuming O2 at a constant rate from the solution however H2O2 is breaking down to produce O2 at a variable rate, fast at first and decreasing as the concentration of H2O2 decreases (see the inset) .  From time 2 on, the light is still on and the steady decrease in O2 is due solely to respiration rate.

FIG. 3. Data on AFA. Light-to-dark transition. The transition data are for the 1 minute after the lights are turned off. The lines for the light and dark regions and slopes are calculated as described in the methods section. The H2O2 data are derived from the calculated H2O2 added to the O2, to show how the total available O2 (including H2O2) in the medium decreases and how the H2O2 decreases rapidly due to catalysis during the transition period. The model line is the predicted [O2] using apparent Vmax and Km values for catalysis of H2O2 that were fit to this data Vmax = 6 and Km = 0.5 . These values are close to, but higher, those calculated from H2O2 addition experiments designed to estimate catalase activity directly (see the text).

FIG 4. H2O2 offset measured on Piko cultures at a range of ambient oxygen concentrations (nmol O2 mL-1 ) but the same light (44 uEm-2s^-1). The oxygen axis for these data were shifted to have the end of the light period equal 0.  This shows the relative responses of to different [O2]. The offset value had a mean (1.61) and SD (0.14). This culture had OD660 = 1.039, dry weight = 0.234 and the Chla = (11.6 * .779).

data from 1219